## Cover
LX SERIES | Document: | 036-33316-001-E-0320
SPLIT-SYSTEM HEAT PUMPS | Supersedes: | 036-33316-001-D-0120
14.0 & 16.0 SEER | Effective Date: |  | 2020-03-20
All Prices FOB Point of Shipment
Print Document

## Nomenclature
PRODUCT NOMENCLATURE
BRAND | Y | Y = York T=Generic
PRODUCT TYPE | H | C = Air Conditioner
H = Heat Pump
E = ECM Match
F = Fin & Tube Air Conditioner
NOMINAL SERIES EFFICIENCY AND STAGING | M | D = 13 SEER / 1-Stage (US Northern Region)
E = 14 SEER / 1-Stage (US Southeast Region)
S = 14 SEER High EER / 1-Stage (US Southwest Region)
G = 16 SEER / 1-Stage
M = 16 SEER / Modulating
NOMINAL UNIT CAPACITY (MBH) | 36
|  | 18 = 1.5 Ton | 42 = 3.5 Ton
|  | 24 = 2 Ton | 48 = 4-Ton
|  | 30 = 2.5 Ton | 60 = 5-Ton
|  | 36 = 3 Ton | 76 = 6.3 Ton
REFRIGERANT | B | B = R-410A
VOLTAGE (Voltage-Phase-Hertz) | 2 | 2 = 208/230-1-60 | 3 = 208/230-3-60
4 = 460-3-60
5 = 575-3-60
GENERATION (MAJOR REVISION) | 1 | 1 = 1st Gen
2 = 2nd Gen
etc
FACTORY OPTION | S | S = Standard (No Options)
H = Hard Start Kit
STYLE LETTER (MINOR REVISION) NOT USED FOR ORDERING | A | A = Style A
B = Style B
etc
Not all models are valid for installation in all US Regions.

## Basic Units
YHE (1 PHASE) 14.0 SEER (R-410A REFRIGERANT) - LX SERIES
MODEL NUMBER | HEIGHT | WIDTH | LENGTH | WEIGHT | FAM | SUB | MLP
YHE18B21S | 33-1/4 | 29-1/4 | 29-1/4 | 120 | 03 | 68 | 1953
YHE24B21S | 36-1/4 | 29-1/4 | 29-1/4 | 131 | 03 | 68 | 2119
YHE30B21S | 39-1/2 | 35-1/4 | 31-3/4 | 176 | 03 | 68 | 2222
YHE35B21S | 39-1/2 | 35-1/4 | 31-3/4 | 176 | 03 | 68 | 2383
YHE36B22S | 39-1/2 | 35-1/4 | 31-3/4 | 200 | 03 | 68 | 2676
YHE42B22S | 39-1/2 | 35-1/4 | 31-3/4 | 218 | 03 | 68 | 2852
YHE48B22S | 39-1/2 | 38 | 31-3/4 | 235 | 03 | 68 | 3096
YHE60B22S | 42-1/2 | 38 | 34-1/4 | 256 | 03 | 68 | 3409
YEE (1 PHASE) 14.0 SEER (R-410A REFRIGERANT) - LX SERIES
MODEL NUMBER | HEIGHT | WIDTH | LENGTH | WEIGHT | FAM | SUB | MLP
YEE18B21S | 26-3/4 | 24 | 24 | 122 | 03 | 64 | 1660
YEE24B21S | 33-1/4 | 24 | 24 | 131 | 03 | 64 | 1780
YEE30B21S | 36-1/4 | 29-1/4 | 29-1/4 | 165 | 03 | 64 | 1889
YEE36B21S | 36-1/4 | 35-1/4 | 31-3/4 | 191 | 03 | 64 | 2475
YEE42B21S | 36-1/4 | 35-1/4 | 31-3/4 | 210 | 03 | 64 | 2652
YEE48B21S | 39-1/2 | 38 | 34-1/4 | 224 | 03 | 64 | 2910
YEE60B21S | 42-3/4 | 38 | 34-1/4 | 249 | 03 | 64 | 3204
THE (3- PHASE) 14.0 SEER (R-410A REFRIGERANT) - LX SERIES
MODEL NUMBER | HEIGHT | WIDTH | LENGTH | WEIGHT | FAM | SUB | MLP
THE30B31S | 39 ½ | 35 ¼ | 31 ¾ | 176 | 26 | 16 | 3119
THE30B41S | 39 ½ | 35 ¼ | 31 ¾ | 176 | 26 | 16 | 3119
THE36B32S | 39 ½ | 35 ¼ | 31 ¾ | 200 | 26 | 16 | 3570
THE36B42S | 39 ½ | 35 ¼ | 31 ¾ | 200 | 26 | 16 | 3570
THE42B32S | 39 ½ | 35 ¼ | 31 ¾ | 218 | 26 | 16 | 3796
THE42B42S | 39 ½ | 35 ¼ | 31 ¾ | 218 | 26 | 16 | 3796
THE48B31S | 39 ½ | 35 ¼ | 31 ¾ | 235 | 26 | 16 | 4346
THE48B41S | 39 ½ | 35 ¼ | 31 ¾ | 235 | 26 | 16 | 4346
THE60B31S | 39 ½ | 38 | 34 ¼ | 256 | 26 | 16 | 4786
THE60B41S | 42 ½ | 38 | 34 ¼ | 256 | 26 | 16 | 4786
YHM (1 PHASE) 16.0 SEER (R-410A REFRIGERANT) - LX SERIES
MODEL NUMBER | HEIGHT | WIDTH | LENGTH | WEIGHT | FAM | SUB | MLP
YHM24B21S | 33-1/4 | 29-1/4 | 28-3/4 | 151 | 03 | 69 | 3490
YHM36B22S | 39-1/2 | 29-1/4 | 33-3/4 | 167 | 03 | 69 | 3954
YHM48B21S | 39-1/2 | 35-1/4 | 33-3/4 | 198 | 03 | 69 | 4712
YHM60B21S | 39-1/2 | 35-1/4 | 33-3/4 | 219 | 03 | 69 | 5235
YHG (1- Stage) 16.0 SEER (R-410A REFRIGERANT) - LX SERIES
MODEL NUMBER | HEIGHT | WIDTH | LENGTH | WEIGHT | FAM | SUB | MLP
YHG18B21S | 36 ¼ | 29 ¼ | 29 ¼ | 136 | 03 | 78 | 2485
YHG24B21S | 39 ½ | 35 ¼ | 31 ¾ | 176 | 03 | 78 | 2696
YHG30B21S | 39 ½ | 35 ¼ | 31 ¾ | 176 | 03 | 78 | 2826
YHG36B21S | 39 ½ | 35 ¼ | 31 ¾ | 223 | 03 | 78 | 3032
YHG42B21S | 39 ½ | 38 | 31 ¾ | 270 | 03 | 78 | 3403
YHG48B21S | 42 ½ | 38 | 34 ¼ | 292 | 03 | 78 | 3628
YHG60B21S | 42 ½ | 38 | 34 ¼ | 304 | 03 | 78 | 3938

## Field Accessories
FIELD INSTALLED ACCESSORIES - ELECTRICAL | [5 empty] | YHExxBx | [7 empty] | YHMxxB21S |  |  |  | THExxB |  |  |  |  | YHGxxB21S | [6 empty] | YEExxB21S | [6 empty] | APPLICATION NOTES
PART NUMBER | DESCRIPTION | WEIGHT | FAM | SUB | PRICE | 18 | 24 | 30 | 35 | 36 | 42 | 48 | 60 | 24 | 36 | 48 | 60 | 30 | 36 | 42 | 48 | 60 | 18 | 24 | 30 | 36 | 42 | 48 | 60 | 18 | 24 | 30 | 36 | 42 | 48 | 60
S1-2LA06700424 | Standard Low Ambient Control Kit | 1 | 09 | 12 | See S1 Price List1 | P | P | P |  | P | P | P | P |  |  |  |  | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-2LA04700824 | Advanced Low Ambient Control Kit | 1 | 09 | 12 | See S1 Price List1 | P | P | P |  |  |  | P | P |  |  |  |  | P | P | P | P | P |  | P
S1-CE-9722 | High Ambient Condenser Fan Motor (1/12 - 1/8 HP) | 1 | 09 | 12 | See S1 Price List1 | P | P
S1-FHM3204HT | High Ambient Condenser Fan Motor (1/4 HP) | 1 | 09 | 12 | See S1 Price List1 |  |  | P | P | P | P | P | P |  |  |  |  | P | P | P | P | P
S1-2SA06721806 | Compressor Start Assist Kit | 1 | 09 | 12 | See S1 Price List1 | P | [16 empty] | P | [6 empty] | P
S1-2SA06710106 | Compressor Start Assist Kit | 1 | 09 | 12 | See S1 Price List1 |  | P | P | P | P | P | P | P | [10 empty] | P | P | P | P | P | P |  | P | P | P | P | P | P
S1-02549809000 | Compressor Crankcase Heater - Bellyband - Scroll 240V (Include Temperature Switch S1-02550865000) | 1 | 9 | 12 | See S1 Price List1 | P | P | P | P | P | [7 empty] | P | P | [10 empty] | P | P | P | [5 empty] | <--This crankcase utilizes an extra switch located in the control box. The YHG already utilizes this CCH/Switch combination and the YEE uses it on the 36 and 60. Preferably it would be utilized as the field kit.
S1-02549810000 | Compressor Crankcase Heater - Bellyband - Scroll 240V (Include Temperature Switch S1-02550865000) | 1 | 09 | 12 | See S1 Price List1 | [5 empty] | P | P | P | [6 empty] | P | P | P | [11 empty] | P | P |  |  | <--This crankcase utilizes an extra switch located in the control box. The YHG already utilizes this CCH/Switch combination and the YEE uses it on the 36 and 60. Preferably it would be utilized as the field kit.
S1-33102952111 | Outdoor Communicating Board Kit | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P | [9 empty] | P | P | P | P | P | P | P | P | P | P | P | P | P | P |  | <---Will work with Hex but not new zoning. Really for old legacy equipment.
S1-2LT06700224 | Low Temperature Cutoff | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P |  |  |  |  | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-2AC02700701 | Add-on Fossil Fuel Control Panel | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P |  |  |  |  | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-37327982001 | Outdoor Thermostat for Electric Heat Staging | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P |  |  |  |  | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
*Note: Please use your Source 1 multiplier when calculating pricing on residential accessories.
FIELD INSTALLED ACCESSORIES - NON ELECTRICAL | [5 empty] | YHExxBx | [7 empty] | YHMxxB21S |  |  |  | THExxB |  |  |  |  | YHGxxB21S | [6 empty] | YEExxB21S | [6 empty] | APPLICATION NOTES
PART NUMBER | DESCRIPTION | WEIGHT | FAM | SUB |  | 18 | 24 | 30 | 35 | 36 | 42 | 48 | 60 | 24 | 36 | 48 | 60 | 30 | 36 | 42 | 48 | 60 | 18 | 24 | 30 | 36 | 42 | 48 | 60 | 18 | 24 | 30 | 36 | 42 | 48 | 60
S1-HPRKIT-3 | Support Feet (Snow Feet) Kit - 3" | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-HPRKIT-6 | Support Feet (Snow Feet) Kit - 6" | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-HPRKIT-12 | Support Feet (Snow Feet) Kit - 12" | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-1HK0401 | Anchor Bracket Kit | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-1TVMBA1 | Indoor TXV Kit | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P |  |  |  | P |  |  |  | P | P |  |  |  | P | P | P | P |  |  |  | P | P | P | P
S1-1TVMBB1 | Indoor TXV Kit | 1 | 09 | 12 | See S1 Price List1 |  |  | P | P | P | [7 empty] | P | [7 empty] | P
S1-1TVMBC1 | Indoor TXV Kit | 1 | 09 | 12 | See S1 Price List1 | [5 empty] | P | P | P |  | P |  |  |  |  | P | P | P |  |  |  |  | P | P | P |  |  |  |  | P | P | P
S1-1TVMBD1 | Indoor TXV Kit | 1 | 09 | 12 | See S1 Price List1 | [10 empty] | P | [12 empty] | P
S1-1TVMBF1 | Indoor TXV Kit | 1 | 09 | 12 | See S1 Price List1 |  |  |  |  | P
S1-1TVMBG1 | Indoor TXV Kit | 1 | 09 | 12 | See S1 Price List1 | [7 empty] | P |  |  |  | P |  |  |  |  | P
S1-ACB-30 | Wall Mount Kit - 30" | 1 | 09 | 12 | See S1 Price List1 | P | P | [6 empty] | P | P | [7 empty] | P | [6 empty] | P | P | P
S1-ACB-36 | Wall Mount Kit - 36" | 1 | 09 | 12 | See S1 Price List1 |  |  | P | P | [6 empty] | P | P | P | [5 empty] | P | P | P | [6 empty] | P | P
S1-ACB-42 | Wall Mount Kit - 42" | 1 | 09 | 12 | See S1 Price List1 |  |  |  |  | P | P | P | P | [5 empty] | P | P | P | P |  |  |  |  | P | P | P | [5 empty] | P | P
S1-CHGTENT01 | Cold Weather Charging Tent | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-51301535000 | Touch-up Paint: Champagne | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-51301536000 | Touch-up Paint: Titanium | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-51301537000 | Touch-up Paint: Black | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
S1-01007645000 | Compressor Sound Blanket - Small Scroll | 1 | 09 | 12 | See S1 Price List1 | P | P | P | P | P | [7 empty] | P | P |  |  |  | P | P | P | P |  |  |  | P | P | P | P
S1-01007646000 | Compressor Sound Blanket - Large Scroll | 1 | 09 | 12 | See S1 Price List1 | [5 empty] | P | P | P | [6 empty] | P | P | P |  |  |  |  | P | P | P |  |  |  |  | P | P | P
*Note: Please use your Source 1 multiplier when calculating pricing on residential accessories.
1. Source1 Master Pricing List can be found on UPGnet in the Product Center under Source1 Marketing Manual or at http://www.source1parts.com/

## Comments
REFER TO COMFORT PLAN PRICE LIST FOR EXTENDED WARRANTY PRICING
ORDERING INSTRUCTIONS
1 | Use Standard Order Form 45.05-F10
2 | Each item on an order must include the equipment model number plus its description.
3 | Only one model number per item.
4 | Model number must be accurate. The item shipped will correspond to the equipment model number submitted.
5 | Check the acknowledgment copy of the order immediately and notify the factory of any error.

## Notes
Notes: